Triggers and Events
Sensors
Actuators
Triggers
Actions
Events
Timers

A Trigger always includes one Timer, one Event, one Action Group, many Action items. An action item is related to an actuator.
A trigger is On (currentstatus=1) when the Timer currentstatus = 1 and the Event currentstatus = 1

A Trigger can be one of these types
- 0 = Local (the trigger is managed by the HUB. Commands to the remote nodes are sent is actions are required)
- 1 = Remote (the trigger is managed by the remote node)
  On when the condition is in range.
  Off when the condition is out of range
  On until a reset command is sent)
- 2 = Remote temporary (the trigger is managed by the remote node)
  On when the condition is in range
  Off when the condition is out of range
- 3 = Remote toggle (the trigger is managed by the remote node)
  On when the condition is in range
  Off when the condition is in range again
- 4 = Remote timer (the trigger is managed by the remote node)
  On for n seconds when the condition is in range, then turn to Off

A Event is something that happens in a place and in a certain condition
Es. In the bedroom (place) the temperature (sensor) is 20C° (condition)
An event is linked to the Event Logic that can include one or more conditions (many conditions are supported only when the trigger type = 0)
Es. In the bedroom (place) the temperature (sensor) is 20°C (condition) AND External (place) the temperature (sensor) is less than 10°C

Timers

A timer is composed by
One daily timer, set the time period
One weekly timer, set the week days
One monthly timer, set the months

Es. timer = morning, weekend, winter
the timer is On from 00:00 to 12:00 on Saturday and Sunday on November, December, January, February, March, otherwise is Off.

Systems and Functions

A System is a group of sensors. Used to group sensors and events
Es. Clima control, Alarm etc..

A Function is a group of triggers. Used to group triggers and actuators
Es. All Off/On, Always, Back home

Sensors and Actuators

A sensor is an object whose purpose is to detect events or changes in its environment, and then provide a corresponding output. A sensor is a type of transducer; sensors may provide various types of output, but typically use electrical or optical signals. For example, a thermocouple generates a known voltage (the output) in response to its temperature (the environment). A mercury-in-glass thermometer, similarly, converts measured temperature into expansion and contraction of a liquid, which can be read on a calibrated glass tube. (wikipedia)

Type of sensors

0	for internal use only
1	Elettricity
2	Gas
3	Lux analog GA1A12S202
4	Movement
5	Pressure
6	Noise
7	Temp DHT21
8	Temperature
9	External Temp
10	Umidity DH21
11	External Umidity
12	Pollution

A Actuator is a Electrical, hydraulic, or pneumatic device (such as a relay, servo, remote control, motor etc...) that controls the flow of material or power. Also called actuation device.

Actuator types
1	Lamp
2	Ceiling lamp
3	Relay
4	Buzzer
5	Camera
6	Key
7	Plug
8	Servo
9	LED Analog
10	Inactive
11	Socket
12	Door
13	Switch
14	Table lamp
15	Window
16	Air conditioner
17	Fan

An actuator type can have methods to define the things the actuator can do.

0	Mandatory	On/Off (it is the default for all actuators)
1	Optional	Dimmer
2	Optional	Range
3	Optional	AC fan 1
4	Optional	AC fan 2
5	Optional	AC fan 3
6	Optional	AC Fan Auto
7	Optional	AC Mode Cool
8	Optional	AC Mode Dry
9	Optional	AC Mode Heat
10	Optional	AC Mode Auto
11	Optional	AC Temperature
12	Optional	AC Swing

Environment Hierarchy

Environment
Actuators
Node
Sensor
Room